Things that need to happen:

- Count rotifers

- Autoclave media

- Test the spectrophotometer

  - Consistency of readings?

  - Lowest detectable concentration of bacteria?

  - How do OD-600 values compare to direct counts with a hemocytometer?

- pH? DO?

  - 50 ml conical tubes might be too small?

- Filtering step

  - Cut out many squares of filter cloth, and use one square per replicate?

- Feeding regime

  - No feeding after setup? (treatments stay different over time on their own)

  - Add bacteria daily, but always the same amount per treatment

  - Daily top-off based on OD-600 readings?

Draft procedure:

For each tube:

- Record the pH and O2

- Vortex mix

- Sample for bacteria -> filter out xx μl -> into 96-well plate on ice

- Sample for Palmer cell count -> 100 μl onto slide

- Read OD-600

- Count rotifers

- Add bacteria treatments

Time for N = 60:

- pH & O2 - 1 hour (first and last day only)

- x

- Sample - 15 m

- x

- OD - 5 m

- Count - 2 hours

- Feed - 15 m

2h35m alone
1h30m with 1 helper